# Functional Requirements: FR-

- The software shall take NICU data and as an output  clean, normalize, standardize it.

- The software shall take in real time data streams from NICU devices in HL7-FHIR, DICOM format.

- The software shall store output data as ready to use structured datasets in a given database with given settings for training/feeding AI models.

- The Software shall feed AI models with processed data.

- The Software shall take AI diagnostic engines results and display them

- The software shall store immutable audit logs for data lineage and transformation in the database.

- The software shall store preprocessor settings changes in the database.

- The software shall make login to use itself  mandatory.

- The software shall define different usage permissions for different users.

# Non-Functional Requirements: NFR-

- The software shall ensure secure patient data transmission and storage.

- The software shall be capable of scaling to handle simultaneous data streams from multiple NICU devices, and feed the AI engine in real time.

- The software shall display AI diagnostic engines results in real time.