TOBB ETU

Economy & Technology University

BIL 495 / YAP 495

Software Test Plan (STP)

Reference: IEEE 829-2008 / ISO/IEC/IEEE 29119-3

## Document Control Table

| Document Title | Project Closure Report |
| --- | --- |
| Document ID | (To be assigned) |
| Prepared By (Author) | FinalStack |
| Reviewed By |  |
| Approved By |  |
| Preparation Date |  |
| Approval Date |  |
| Version / Revision | 1.0 |
| Confidentiality Level | Internal / Restricted / Public |
| Reference Standards | IEEE 15288, IEEE 12207, INCOSE SE Handbook v5 |

## Change Record (Revision History Table)

| Revision | Date | Prepared By | Reviewed/Approved By | Description of Change |
| --- | --- | --- | --- | --- |
| 1.0 | (Date) | (Author) | (Approver) | Initial Release |
| 1.1 |  |  |  | Minor editorial updates |
| 1.2 |  |  |  | Added stakeholder feedback section |

1. Introduction

1.1 Purpose

1.2 References

2. Test Items

3. Features to be Tested / Not Tested

4. Test Approach

5. Pass/Fail Criteria

6. Test Deliverables

7. Schedule and Responsibilities

8. Risks and Contingencies

9. Appendix

10. References

## 1. Introduction

## 1.1 Purpose

The purpose of this document is to define the testing strategy, scope, resources and schedule for AI Enchanced NICU device data processing and DICOM-HL7/FHIR integration system

## 1.2 References

- SRS v1.2

- HL7

- DICOM

## 2. Test Items

The following items will be tested:

### Core Modules

- Device Ingestion Module

- Preprocessing & AI Feature Extraction Module

- HL7 Message Generation Module

- Hospital Connector

- Dashboard Application

- Audit Logging Module

- Configuration Management Module

### Interfaces

- NICU Device Input Interface

- HL7/FHIR Output Interface

- Dashboard API

- Internal Data Pipelines

## 3. Features to be Tested / Not Tested

## 3.1 Features to be Tested

- Raw data ingestion from NICU devices

- Data preprocessing, normalization, and feature extraction

- HL7 message creation and transmission

- FHIR resource creation and transmission

- Dashboard device control functions (connect/disconnect)

- Device status monitoring

- Configuration update application

- Audit trail creation and storage

- End-to-End data flow validation

- Error handling and system logging

## 3.2 Features Not to be Tested

- External hospital EHR internal logic

- AI model training (only preprocessing is included)

- Hardware performance of NICU devices

- Network infrastructure reliability outside system scope

## 4. Test Approach

Testing will follow a multi-level strategy aligned with IEEE and ISO standards:

### 4.1 Unit Testing

- Performed by developers

- Focus on individual functions (parsers, encoders, services)

### 4.2 Integration Testing

- Validate communication between ingestion → preprocessing → HL7/FHIR → hospital connector

- Validate dashboard interactions with backend services

### 4.3 System Testing

Performed by testing team to validate the entire system behavior.
Two primary system tests include:

### System Test Case 1 (STC-001)

End-to-End Data Ingestion and HL7/FHIR Output Validation

- NICU data → preprocessing → HL7/FHIR → hospital endpoint

- Audit logs verified

### System Test Case 2 (STC-002)

Device Management & Dashboard Functional Validation

- Connect/disconnect device

- Monitor device status

- Update preprocessing configuration

(Test case details are attached in Appendix.)

### 4.4 Acceptance Testing

- Performed with stakeholders/hospital IT team

- Validate compliance with medical data interoperability requirements

## 5. Pass/Fail Criteria

### A test is marked PASS if:

- Expected results match actual results

- HL7/FHIR messages validate successfully

- Dashboard operations behave as defined

- No critical or high-severity defects remain open

### A test is marked FAIL if:

- Any mandatory field is missing in HL7/FHIR outputs

- Data flow breaks at any stage of the pipeline

- Incorrect device status is shown in dashboard

- Configuration does not apply to processing pipeline

## 6. Test Deliverables

- Test Plan (this document)

- Test Cases (TCs)

- Integration Test Report

- System Test Report

- Traceability Matrix (SRS → Test Cases)

## 7. Schedule and Responsibilities

### Schedule:

- Unit Testing: Weeks 1–2

- Integration Testing: Weeks 3–4

- System Testing: Weeks 5–6

- Acceptance Testing: Week 7

- Final Reporting: Week 8

## 8. Risks and Contingencies

| Risk | Impact | Mitigation |
| --- | --- | --- |
| NICU device availability issues | Medium | Use simulation data generators |
| HL7/FHIR interoperability failures | High | Validate early with sample hospital endpoints |
| Dashboard-backend sync issues | Medium | Add monitoring & fallback retry logic |
| Network instability | Medium | Use failover and logging mechanisms |
| Tight delivery schedule | High | Parallelize testing and development |

## 9. Appendix

- System Test 1

- System Test 2

- Integration Test 1

- Integration Test 2

- Sequence Diagram

- Deployment Diagram

- State Machine

## 10. References

- IEEE 829-2008 Standard

- ISO/IEC/IEEE 29119-3 Standard

- HL7 v2.x Standard Documentation

- FHIR R4 Specification

- System Requirements Specification (SRS)

- Architecture Document